## REKAP
|  | BILL OF QUANTITY (BoQ) | Estimate Rev. | 0
|  | PT PERTAMINA PATRA NIAGA - SUBHOLDING COMMERCIAL & TRADING | Tanggal | 2026-09-17
RELIABILITY & PROJECT DEVELOPMENT - REGIONAL KALIMANTAN
PEMBANGUNAN SHELTER SERVICE DAN LANTAI BUNDWALL T10 & T11 AFT SYAMSUDIN NOOR
NO | URAIAN PEKERJAAN |  | JUMLAH HARGA
|  |  | MATERIAL | JASA
I | #ERROR! |  | 0 | 509500000
II | #ERROR! |  | 1669061085 | 522394645.2
III | #ERROR! |  | 31500000 | 37000000
IV | #ERROR! |  | 0 | 40000000
TOTAL SUB JUMLAH I - VI |  |  | 1700561085 | 1108894645
| TOTAL SUB JUMLAH |  |  | 2809455730
| KEUNTUNGAN & RESIKO* | 10% |  | 280945573
| TOTAL + KEUNTUNGAN & RESIKO |  |  | 3090401303
| PEMBULATAN |  |  | 3090000000
TERBILANG: TIGA MILYAR SEMBILAN PULUH JUTA RUPIAH
#REF!
PT. USAHA JAYA ENGINEERING
CHARLES SETIAWAN
Direktur

## BOQ
BILL OF QUANTITY (BoQ)
PT PERTAMINA PATRA NIAGA - SUBHOLDING COMMERCIAL & TRADING
RELIABILITY & PROJECT DEVELOPMENT - REGIONAL KALIMANTAN
|  |  |  | PEMBANGUNAN SHELTER SERVICE DAN LANTAI BUNDWALL T10 & T11 AFT SYAMSUDIN NOOR | [7 empty] | 3090401303
Date : |  | 2025-09-12 | [5 empty] | Rev : | 0
NO. | URAIAN PEKERJAAN |  |  |  | VOLUME |  | HARGA SATUAN |  | JUMLAH HARGA |  |  |  | 1
[7 empty] | MATERIAL | JASA | MATERIAL | JASA
I | PEKERJAAN PERSIAPAN
1.1 | Mobilisasi dan Demobilisasi (Material, Tenaga Kerja dan Peralatan Kerja) |  |  |  | 1 | Ls | 0 | 185000000 | 0 | 185000000 | 185000000 | 6.5849
1.2 | Direksi Keet uk. minimal 12 m2 untuk Kantor Lapangan dan Gudang Sementara |  |  |  | 1 | Ls | 0 | 18000000 | 0 | 18000000 | 18000000 | 0.64069
1.3 | Project Management |  |  |  | 1 | Ls | 0 | 166500000 | 0 | 166500000 | 166500000 | 5.9264
| - | Project Manager, Site Manager, Tenaga Ahli, Tenaga Terampil dan Safety Man
| - | Engineering Survey dan Pengambilan Data Lapangan
| - | Perhitungan dan Verifikasi Desain (Detailed Engineering Design)
| - | Dokumen HSSE (HSE Plan, Pre-Job Activities, Work In Progress, Final Evaluation)
| - | Dokumen Konstruksi dan Quality Control (Progres Report, Prosedur Konstruksi, Inspection & Test Plan, Material Approval)
| - | Shop Drawing dan As-built Drawing
| - | Akomodasi dan Transportasi Lokal
| - | Welder Performance Qualification Test (WPQT) dan Sertifikasi Welder MIGAS untuk 1 orang
1.4 | Sarana dan Fasilitas HSSE |  |  |  | 1 | Ls | 0 | 90000000 | 0 | 90000000 | 90000000 | 3.2035
| - | Medical Check-up (MCU) dan Daily Check-up (DCU)
| - | Alat Pelindung Diri (APD) standar sesuai Job Safety Analysis
| - | Rambu-Rambu HSSE (Safety Sign), Safety Line dan Spanduk Proyek
| - | Listrik dan Air Kerja
| - | Fire Extinguisher/APAR dan Fire Blanket
| - | Portable Gas Detector
| - | Bongkar dan Pasang Alat Bantu Scaffolding termasuk Inspektur Scaffolding
1.5 | Soil Test (Sondir Test 3 titik dan Bor Test 1 titik c/w Laporan Laboratorium) titik test dilaksanakan di sisi dekat warehouse (kedalaman 50 meter) |  |  |  | 1 | Ls | 0 | 50000000 | 0 | 50000000 | 50000000 | 1.7797
| SUBTOTAL | [7 empty] | 0 | 509500000
II | PEKERJAAN SIPIL
2.1 | Pekerjaan Pembangunan Warehouse dan Workshop Maintenance Refueller | [9 empty] | 0 | 0
| 2.1.1 | Pekerjaan Bouwplank, Wood Stiffener, Titik Koordinat, dan Leveling Survey Area |  |  | 128 | m' | 130000 | 35000 | 16640000 | 4480000 | 21120000 | 0.75175
| 2.1.2 | Pekerjaan Pembongkaran Warehouse Eksisting include Pembuangan Material Sisa |  |  | 1 | Ls | 0 | 25000000 | 0 | 25000000 | 25000000 | 0.88985
| 2.1.3 | Pekerjaan Pondasi
| 2.1.3.1 | Pekerjaan Galian Tanah |  |  | 64.08 | m³ | 0 | 65000 | 0 | 4165200 | 4165200 | 0.14826
| 2.1.3.2 | Urugan Tanah Kembali dan dipadatkan |  |  | 50.22 | m³ | 0 | 50000 | 0 | 2511000 | 2511000 | 0.089377
| 2.1.3.3 | Pembuangan Galian Tanah ke lokasi yang ditunjuk oleh pengawas |  |  | 13.86 | m³ | 0 | 87500 | 0 | 1212750 | 1212750 | 0.043167
| 2.1.3.4 | Urugan pasir dan dipadatkan, tebal : 10 cm |  |  | 4.272 | m³ | 450000 | 55000 | 1922400 | 234960 | 2157360 | 0.076789
| 2.1.3.5 | Bekisting/Form Work |  |  | 61.2 | m² | 135000 | 41500 | 8262000 | 2539800 | 10801800 | 0.38448
| 2.1.3.6 | Cor Lantai Kerja Beton Mutu K-175 tebal : 5 cm |  |  | 2.136 | m³ | 1550000 | 215000 | 3310800 | 459240 | 3770040 | 0.13419
| 2.1.3.7 | Cor beton mutu K-275 untuk pondasi |  |  | 13.86 | m³ | 1650000 | 250000 | 22869000 | 3465000 | 26334000 | 0.93733
| 2.1.3.8 | Pembesian Tulangan |  |  | 1609.3583 | kg | 14500 | 3500 | 23335695.64 | 5632754.12 | 28968449.76 | 1.0311
| 2.1.4 | Pekerjaan Kolom Pedestal
| 2.1.4.1 | Bekisting/Form Work |  |  | 7.56 | m² | 135000 | 41500 | 1020600 | 313740 | 1334340 | 0.047495
| 2.1.4.3 | Cor beton mutu K-275 untuk Kolom Pedestal |  |  | 0.6615 | m³ | 1650000 | 250000 | 1091475 | 165375 | 1256850 | 0.044736
| 2.1.4.4 | Pembesian Tulangan |  |  | 88.3825 | kg | 14500 | 3500 | 1281546.54 | 309338.82 | 1590885.36 | 0.056626
| 2.1.5 | Pekerjaan Sloof / Grade Beam
| 2.1.5.1 | Bekisting/Form Work |  |  | 22 | m² | 135000 | 41500 | 2970000 | 913000 | 3883000 | 0.13821
| 2.1.5.2 | Cor Lantai Kerja Beton dan Non Struktural Mutu K-175 tebal : 5 cm |  |  | 2.62 | m³ | 1550000 | 215000 | 4061000 | 563300 | 4624300 | 0.1646
| 2.1.5.3 | Cor beton mutu K-275 untuk sloof |  |  | 15.72 | m³ | 1650000 | 250000 | 25938000 | 3930000 | 29868000 | 1.0631
| 2.1.5.4 | Pembesian Tulangan |  |  | 1936.8376 | kg | 14500 | 3500 | 28084145.49 | 6778931.67 | 34863077.16 | 1.2409
| 2.1.4 | Pekerjaan Dinding
| 2.1.4.1 | Pekerjaan Dinding Bata Merah 1/2 Bata, 1 PC : 3 Psr (Tinggi 3.5 meter) |  |  | 201.255 | m³ | 98500 | 42500 | 19823617.5 | 8553337.5 | 28376955 | 1.0101
| 2.1.4.2 | Plester Dinding Luar dan Dalam, tebal 20 mm, 1 PC : 3 Psr |  |  | 402.51 | m² | 75000 | 35000 | 30188250 | 14087850 | 44276100 | 1.576
| 2.1.4.3 | Pas. Acian |  |  | 402.51 | m² | 45000 | 35000 | 18112950 | 14087850 | 32200800 | 1.1462
| 2.1.4.4 | Zincalume Cladding Sheet 0.4mm (Tinggi 4.5 meter), include coating |  |  | 310.5 | m² | 215000 | 70000 | 66757500 | 21735000 | 88492500 | 3.1498
| 2.1.4.5 | Rangka Cladding (Girt CNP 150x50x20x3.2) include Steel Connections |  |  | 1469.286 | kg | 25850 | 8500 | 37981043.1 | 12488931 | 50469974.1 | 1.7964
| 2.1.4.6 | Sagrod (Bar ø12) |  |  | 253.968 | kg | 25850 | 8500 | 6565072.8 | 2158728 | 8723800.8 | 0.31052
| 2.1.5 | Pekerjaan Pintu dan Jendela
| 2.1.5.1 | Pintu Double Aluminium uk. 150 cm (lebar) x 210 cm (tinggi) (inl. Parts dan Accessories) untuk Warehouse Equipment |  |  | 1 | set | 15000000 | 3500000 | 15000000 | 3500000 | 18500000 | 0.65849
| 2.1.5.2 | Pintu Double Aluminium uk. 150 cm (lebar) x 210 cm (tinggi) (inl. Parts dan Accessories) untuk Warehouse Lubricants |  |  | 1 | set | 15000000 | 3500000 | 15000000 | 3500000 | 18500000 | 0.65849
| 2.1.5.3 | Pintu Double Aluminium uk. 150 cm (lebar) x 210 cm (tinggi) (incl. Stiker Sandblast, Floor Hinge, Handle, dan Accessories) untuk Warehouse Documents |  |  | 1 | set | 17200000 | 4100000 | 17200000 | 4100000 | 21300000 | 0.75815
| 2.1.5.4 | Pintu Single Aluminium uk. 210 x 90 cm (incl. Stiker Sandblast, Floor Hinge, Handle, dan Accessories) untuk Warehouse Sample Avtur |  |  | 2 | set | 8900000 | 1900000 | 17800000 | 3800000 | 21600000 | 0.76883
| 2.1.5.5 | Jendela uk. 130 x 60 cm; (Incl Kusen Alumunium, Casement dan Accessories) |  |  | 10 | set | 7500000 | 1500000 | 75000000 | 15000000 | 90000000 | 3.2035
| 2.1.6 | Pekerjaan Lantai
| 2.1.6.1 | Urugan pasir dan dipadatkan, tebal : 10 cm |  |  | 12.734 | m³ | 450000 | 55000 | 5730300 | 700370 | 6430670 | 0.22889
| 2.1.6.2 | Bekisting/Form Work |  |  | 7.776 | m² | 135000 | 41500 | 1049760 | 322704 | 1372464 | 0.048852
| 2.1.6.3 | Cor beton mutu K-275 untuk Slab on Ground |  |  | 15.2808 | m³ | 1650000 | 250000 | 25213320 | 3820200 | 29033520 | 1.0334
| 2.1.6.4 | Wiremesh M10x150x150 Double Layer |  |  | 965.5 | kg | 14500 | 3500 | 13999750 | 3379250 | 17379000 | 0.61859
| 2.1.6.5 | Concrete floor finish (with floor hardener) - Area Workshop + Spec General |  |  | 110 | m² | 250000 | 95000 | 27500000 | 10450000 | 37950000 | 1.3508
| 2.1.7 | Pekerjaan Pengecatan dan Waterproofing
| 2.1.7.1 | Pengecatan Dinding Bata Bagian Dalam Seluruh Area (1 lapis plamir, 1 lapis cat dasar, 2 lapis cat penutup) |  |  | 201.255 | m² | 35000 | 15000 | 7043925 | 3018825 | 10062750 | 0.35817
| 2.1.7.2 | Pengecatan Dinding Bata Bagian Luar Seluruh Area (1 lapis plamir, 1 lapis cat dasar, 2 lapis cat penutup waterproof) |  |  | 221.3805 | m² | 41000 | 15000 | 9076600.5 | 3320707.5 | 12397308 | 0.44127
| 2.1.7.3 | Surface Preparation with Power Tools St. 3 / SP3 |  |  | 204.7095 | m2 | 0 | 13000 | 0 | 2661223.5 | 2661223.5 | 0.094724
| 2.1.7.4 | Pengecatan / Coating Baja Struktural WF |  |  | 204.7095 | m² | 215000 | 72000 | 44012542.5 | 14739084 | 58751626.5 | 2.0912
High Build-High Solid Surface Tolerant Epoxy Primer Coat, DFT 125 µ incl thinner
High Build-High Solid Surface Tolerant Epoxy Second Coat, DFT 125 µ incl thinner
Polyurethane Top Coat, DFT 50 µ incl thinner
| 2.1.8 | Pekerjaan Struktur Baja termasuk dengan baut dan aksesoris
- Catatan: Semua Baja Struktural menggunakan ASTM A36 atau JIS G3101-SS400 atau yang setara dengan tegangan leleh minimal 2.400 kg/cm2 (36.000 psi)
| 2.1.8.1 | Column C1 (WF 200x200x8x12) include Steel Connections (Baseplate, Bolt, Nut, Etc.) |  |  | 8327.9757 | kg | 25850 | 8500 | 215278171.1 | 70787793.2 | 286065964.3 | 10.1823
| 2.1.8.2 | Sub-Column SC1 (WF 100x100x6x8) include Steel Connections (Baseplate, Bolt, Nut, Etc.) |  |  | 151.704 | kg | 25850 | 8500 | 3921548.4 | 1289484 | 5211032.4 | 0.18548
| 2.1.8.3 | Beam B1 (WF 200x100x5,5x8) include Steel Connections (Baseplate, Bolt, Nut, Etc.) |  |  | 3313.128 | kg | 25850 | 8500 | 85644358.8 | 28161588 | 113805946.8 | 4.0508
| 2.1.8.4 | Beam B2 (WF 250x125x6x9) include Steel Connections (Baseplate, Bolt, Nut, Etc.) |  |  | 155.4 | kg | 25850 | 8500 | 4017090 | 1320900 | 5337990 | 0.19
| 2.1.8.5 | Bracing BR1 (L 60x60x4) include Steel Connections (Baseplate, Bolt, Nut, Etc.) |  |  | 166.9248 | kg | 25850 | 8500 | 4315006.08 | 1418860.8 | 5733866.88 | 0.20409
| 2.1.8.6 | Rafter R1 (WF 200x100x5,5x8) include Steel Connections (Baseplate, Bolt, Nut, Etc.) |  |  | 1813.266 | kg | 25850 | 8500 | 46872926.1 | 15412761 | 62285687.1 | 2.217
| 2.1.8.7 | Purlin / Girt Lipped Channel (LC 150x65x20x3.2) include Steel Connections (Baseplate, Bolt, Nut, Etc.) |  |  | 851.76 | kg | 25850 | 8500 | 22017996 | 7239960 | 29257956 | 1.0414
| 2.1.8.8 | Sagrod Round Bar Ø12 include Steel Connections |  |  | 278.7876 | kg | 25850 | 8500 | 7206659.46 | 2369694.6 | 9576354.06 | 0.34086
| 2.1.8.9 | Wind Bracing Tie Rod Ø16 include Steel Connections and Turnbuckle |  |  | 224.278 | kg | 25850 | 8500 | 5797585.886 | 1906362.864 | 7703948.75 | 0.27421
| 2.1.9 | Pekerjaan Penutup Atap dan Aksesoris
| 2.1.9.1 | Main Roof corrugated metal sheet (Tebal 0.45 mm) |  |  | 315.1 | m² | 215000 | 70000 | 67746500 | 22057000 | 89803500 | 3.1965
| 2.1.10 | Pekerjaan Talang Air
| 2.1.10.1 | Talang Air - Metal Sheet Galvalume type |  |  | 22 | m' | 350000 | 120000 | 7700000 | 2640000 | 10340000 | 0.36804
| 2.1.10.2 | Frame Talang Air SHS 70x70x2.5 |  |  | 35.156 | kg | 25850 | 8500 | 908782.6 | 298826 | 1207608.6 | 0.042984
| 2.1.10.3 | Pipa Drain PVC Ø 6" include clamps |  |  | 20.49 | m' | 420000 | 130000 | 8605800 | 2663700 | 11269500 | 0.40113
| 2.1.10.4 | Roof Drain Filter SS Material untuk Talang Air uk. 6" termasuk aksesoris |  |  | 2 | bh | 500000 | 200000 | 1000000 | 400000 | 1400000 | 0.049832
2.2 | Pekerjaan Revitalisasi Tank Yard
| 2.1.6 | Pekerjaan Tank Yard Pavement Tangki T-10
| 2.1.6.1 | Pekerjaan Galian Tanah |  |  | 176.7861 | m³ | 0 | 65000 | 0 | 11491093.49 | 11491093.49 | 0.40901
| 2.1.6.2 | Urugan Tanah Kembali dan dipadatkan |  |  | 109.5861 | m³ | 0 | 50000 | 0 | 5479302.681 | 5479302.681 | 0.19503
| 2.1.6.3 | Pembuangan Galian Tanah ke lokasi yang ditunjuk oleh pengawas |  |  | 129.7461 | m³ | 0 | 87500 | 0 | 11352779.69 | 11352779.69 | 0.40409
| 2.1.6.4 | Urugan pasir dan dipadatkan, tebal : 10 cm |  |  | 36.5287 | m³ | 450000 | 55000 | 16437908.04 | 2009077.65 | 18446985.69 | 0.6566
| 2.1.6.6 | Bekisting/Form Work |  |  | 42 | m² | 135000 | 41500 | 5670000 | 1743000 | 7413000 | 0.26386
| 2.1.6.7 | Cor beton mutu K-175 untuk Slab on Ground dan Area Drainase |  |  | 127.8504 | m³ | 1550000 | 215000 | 198168113.6 | 27487835.12 | 225655948.8 | 8.032
| 2.1.6.9 | Box Control Beton K-175 |  |  | 2 | m³ | 1550000 | 215000 | 3100000 | 430000 | 3530000 | 0.12565
| 2.1.6.10 | Wiremesh M8x150x150 |  |  | 2039.07 | kg | 14500 | 3500 | 29566515 | 7136745 | 36703260 | 1.3064
| 2.1.7 | Pekerjaan Tank Yard Pavement Tangki T-11
| 2.1.6.1 | Pekerjaan Galian Tanah |  |  | 225.0124 | m³ | 0 | 65000 | 0 | 14625803.57 | 14625803.57 | 0.52059
| 2.1.6.2 | Urugan Tanah Kembali dan dipadatkan |  |  | 149.4124 | m³ | 0 | 50000 | 0 | 7470618.128 | 7470618.128 | 0.26591
| 2.1.6.3 | Pembuangan Galian Tanah ke lokasi yang ditunjuk oleh pengawas |  |  | 172.0924 | m³ | 0 | 87500 | 0 | 15058081.72 | 15058081.72 | 0.53598
| 2.1.6.4 | Urugan pasir dan dipadatkan, tebal : 10 cm |  |  | 49.8041 | m³ | 450000 | 55000 | 22411854.38 | 2739226.647 | 25151081.03 | 0.89523
| 2.1.6.6 | Bekisting/Form Work |  |  | 45.36 | m² | 135000 | 41500 | 6123600 | 1882440 | 8006040 | 0.28497
| 2.1.6.7 | Cor beton mutu K-175 untuk Slab on Ground dan Area Drainase |  |  | 174.3144 | m³ | 1550000 | 215000 | 270187355.6 | 37477600.94 | 307664956.6 | 10.9511
| 2.1.6.9 | Box Control Beton K-175 |  |  | 2 | m³ | 1550000 | 215000 | 3100000 | 430000 | 3530000 | 0.12565
| 2.1.6.10 | Wiremesh M8x150x150 |  |  | 2718.76 | kg | 14500 | 3500 | 39422020 | 9515660 | 48937680 | 1.7419
| SUBTOTAL | [7 empty] | 1669061085 | 522394645.2
III | PEKERJAAN ELEKTRIKAL
A | Pekerjaan Pengadaan dan Pemasangan Sistem Kelistrikan Warehouse
1.1 | Pengadaan & Pemasangan Kabel Instalasi Listrik Warehouse
| - | NYY 2C X 10 mm2 (Flame Retardant) from Electrical Source to MCB Box |  |  | 20 | m | 70000 | 25000 | 1400000 | 500000 | 1900000 | 0.067629 |  | https://www.tokopedia.com/anugerahmakmurteknik/nyy-2x10-mm-supreme-kabel-kawat-tembaga-2-x-10-kabel-tufur-engkel?aff_unique_id=&channel=others&chain_key=
| - | NYM 2C X 10 mm2 (Flame Retardant) from MCB Box to Shelter Refueler |  |  | 30 | m | 61520 | 25000 | 1845600 | 750000 | 2595600 | 0.092388 |  | https://www.tokopedia.com/veehardware/kabel-supreme-nym-2x10-mm2-50-meter?aff_unique_id=&channel=others&chain_key=
| - | NYM 2C X 4 mm2 (Flame Retardant) from MCB Box to Workshop |  |  | 20 | m | 27560 | 25000 | 551200 | 500000 | 1051200 | 0.037416 |  | https://www.tokopedia.com/veehardware/kabel-supreme-nym-2x4-mm2-50-meter?aff_unique_id=&channel=others&chain_key=
| - | NYM 2C X 2.5 mm2 (Flame Retardant) from MCB Box to Warehouse Equipment |  |  | 6 | m | 20300 | 15000 | 121800 | 90000 | 211800 | 0.0075388 |  | https://www.tokopedia.com/led-lighting-store/kabel-supreme-nym-2x1-5-2x2-5-3x1-5-3x2-5mm-50m-meter-3x2-5mm-5febe?aff_unique_id=&channel=others&chain_key=
| - | NYM 2C X 2.5 mm2 (Flame Retardant) from MCB Box to Warehouse Document |  |  | 12 | m | 20300 | 15000 | 243600 | 180000 | 423600 | 0.015078
| - | NYM 2C X 2.5 mm2 (Flame Retardant) from MCB Box to Warehouse Sample Avtur |  |  | 11 | m | 20300 | 15000 | 223300 | 165000 | 388300 | 0.013821
| - | NYM 2C X 2.5 mm2 (Flame Retardant) from MCB Box to Warehouse Lubricants |  |  | 16 | m | 20300 | 15000 | 324800 | 240000 | 564800 | 0.020104
| - | BC Cable 50 mm2 (Flame Retardant) for Warehouse Earthing |  |  | 10 | m | 90000 | 15000 | 900000 | 150000 | 1050000 | 0.037374 |  | https://www.tokopedia.com/aneka-electric/kabel-bc-50mm-full-murni-tembaga-1731382379575215216?aff_unique_id=&channel=others&chain_key=
1.2 | Pengadaan Panel Kelistrikan Warehouse (MCB Box)
| 1.2.1 | General Data |  |  | 1 | set | 165000000 | 5000000 | 165000000 | 5000000 | 170000000 | 6.051
| - | Dimension | : | 350 x 210 x 170 mm
| - | Type | : | 10 Way MCB Box, Explosion Proof IP66
| 1.2.2 | Include With
| - | Incoming MCB 63 A |  |  | 1 | Ea | 425000 | 75000 | 425000 | 75000 | 500000 | 0.017797
| - | MCB 32 A Outgoing to Shelter Refuler |  |  | 1 | Ea | 400000 | 75000 | 400000 | 75000 | 475000 | 0.016907
| - | MCB 20 A Outgoing to Workshop |  |  | 1 | Ea | 320000 | 75000 | 320000 | 75000 | 395000 | 0.01406
| - | MCB 6 A Outgoing to Warehouse Equipment |  |  | 1 | Ea | 320000 | 75000 | 320000 | 75000 | 395000 | 0.01406
| - | MCB 4 A Outgoing to Warehouse Document |  |  | 1 | Ea | 320000 | 75000 | 320000 | 75000 | 395000 | 0.01406
| - | MCB 6 A Outgoing to Warehouse Avtur |  |  | 1 | Ea | 320000 | 75000 | 320000 | 75000 | 395000 | 0.01406
| - | MCB 4 A Outgoing to Warehouse Lubricants |  |  | 1 | Ea | 320000 | 75000 | 320000 | 75000 | 395000 | 0.01406
1.3 | Pengadaan & Pemasangan Sistem Pencahayaan Area Shelter Refueler
| 1.3.1 | Lamps
|  | TL T8 Lamps 20 Watt, 100lm/w, 220/240 V, 50 Hz |  |  | 10 | Ea | 110000 | 50000 | 1100000 | 500000 | 1600000 | 0.056951
|  | Armature for TL T8 Lamps |  |  | 5 | Ea | 425000 | 130000 | 2125000 | 650000 | 2775000 | 0.098774
| 1.3.2 | Pengadaan & Pemasangan Lighting Switch, Socket Terminal
| - | Double Lighting Switch |  |  | 1 | Ea | 85000 | 50000 | 85000 | 50000 | 135000 | 0.0048052
| - | Electrical Socket Terminal |  |  | 4 | Ea | 95000 | 50000 | 380000 | 200000 | 580000 | 0.020645
| 1.3.3 | Lighting Cable
| - | NYM 2C x 1,5 (Flame Retardant) for Lighting Power |  |  | 150 | m | 20300 | 15000 | 3045000 | 2250000 | 5295000 | 0.18847
1.4 | Pengadaan & Pemasangan Sistem Pencahayaan Area Workshop
| 1.4.1 | Lamps
|  | TL T8 Lamps 20 Watt, 100lm/w, 220/240 V, 50 Hz |  |  | 6 | Ea | 110000 | 50000 | 660000 | 300000 | 960000 | 0.03417
|  | Armature for TL T8 Lamps |  |  | 3 | Ea | 425000 | 130000 | 1275000 | 390000
| 1.4.2 | Pengadaan & Pemasangan Lighting Switch, Socket Terminal
| - | Double Lighting Switch |  |  | 2 | Ea | 85000 | 50000 | 170000 | 100000 | 270000 | 0.0096104
| - | Electrical Socket Terminal |  |  | 2 | Ea | 95000 | 50000 | 190000 | 100000 | 290000 | 0.010322
| 1.4.3 | Lighting Cable
| - | NYM 2C x 1,5 (Flame Retardant) for Lighting Power |  |  | 125 | m | 20300 | 15000 | 2537500 | 1875000 | 4412500 | 0.15706
1.5 | Pengadaan & Pemasangan Sistem Pencahayaan Area Warehouse Equipment
| 1.5.1 | Lamps
|  | TL T8 Lamps 10 Watt, 100lm/w, 220/240 V, 50 Hz |  |  | 4 | Ea | 110000 | 50000 | 440000 | 200000 | 640000 | 0.02278
|  | Armature for TL T8 Lamps |  |  | 2 | Ea | 425000 | 130000 | 850000 | 260000 | 1110000 | 0.039509
| 1.5.2 | Pengadaan & Pemasangan Lighting Switch, Socket Terminal
| - | Double Lighting Switch |  |  | 1 | Ea | 85000 | 50000 | 85000 | 50000 | 135000 | 0.0048052
| - | Electrical Socket Terminal |  |  | 2 | Ea | 95000 | 50000 | 190000 | 100000 | 290000 | 0.010322
| 1.5.3 | Lighting Cable
|  | NYM 2C x 1,5 (Flame Retardant) for Lighting Power |  |  | 60 | m | 20300 | 15000 | 1218000 | 900000 | 2118000 | 0.075388
1.6 | Pengadaan & Pemasangan Sistem Pencahayaan Area Warehouse Document
| 1.6.1 | Lamps
|  | TL T8 Lamps 10 Watt, 100lm/w, 220/240 V, 50 Hz |  |  | 4 | Ea | 110000 | 50000 | 440000 | 200000 | 640000 | 0.02278
|  | Armature for TL T8 Lamps |  |  | 2 | Ea | 425000 | 130000 | 850000 | 260000 | 1110000 | 0.039509
| 1.6.2 | Pengadaan & Pemasangan Lighting Switch, Socket Terminal
| - | Double Lighting Switch |  |  | 1 | Ea | 85000 | 50000 | 85000 | 50000 | 135000 | 0.0048052
| - | Electrical Socket Terminal |  |  | 2 | Ea | 95000 | 50000 | 190000 | 100000 | 290000 | 0.010322
| 1.6.3 | Lighting Cable
|  | NYM 2C x 1,5 (Flame Retardant) for Lighting Power |  |  | 35 | m | 20300 | 15000 | 710500 | 525000 | 1235500 | 0.043976
1.7 | Pengadaan & Pemasangan Sistem Pencahayaan Area Warehouse Sample Avtur
| 1.7.1 | Lamps
|  | TL T8 Lamps 10 Watt, 100lm/w, 220/240 V, 50 Hz |  |  | 2 | Ea | 110000 | 50000 | 220000 | 100000 | 320000 | 0.01139
|  | Armature for TL T8 Lamps |  |  | 1 | Ea | 425000 | 130000 | 425000 | 130000 | 555000 | 0.019755
| 1.7.2 | Pengadaan & Pemasangan Lighting Switch, Socket Terminal
| - | Single Lighting Switch |  |  | 1 | Ea | 85000 | 50000 | 85000 | 50000 | 135000 | 0.0048052
| - | Electrical Socket Terminal |  |  | 2 | Ea | 95000 | 50000 | 190000 | 100000 | 290000 | 0.010322
| 1.7.3 | Lighting Cable
|  | NYM 2C x 1,5 (Flame Retardant) for Lighting Power |  |  | 15 | m | 20300 | 15000 | 304500 | 225000 | 529500 | 0.018847
1.8 | Pengadaan & Pemasangan Sistem Pencahayaan Area Warehouse Lubricants
| 1.8.2 | Lamps
|  | TL T8 Lamps 10 Watt, 100lm/w, 220/240 V, 50 Hz |  |  | 4 | Ea | 110000 | 50000 | 440000 | 200000 | 640000 | 0.02278
|  | Armature for TL T8 Lamps |  |  | 2 | Ea | 425000 | 130000 | 850000 | 260000 | 1110000 | 0.039509
| 1.8.3 | Pengadaan & Pemasangan Lighting Switch, Socket Terminal
| - | Single Lighting Switch |  |  | 1 | Ea | 85000 | 50000 | 85000 | 50000 | 135000 | 0.0048052
| - | Electrical Socket Terminal |  |  | 2 | Ea | 95000 | 50000 | 190000 | 100000 | 290000 | 0.010322
| 1,8,4 | Lighting Cable
|  | NYM 2C x 1,5 (Flame Retardant) for Lighting Power |  |  | 25 | m | 20300 | 15000 | 507500 | 375000 | 882500 | 0.031412
1.9 | Pengadaan Cable Conduit
| - | Cable Conduit Galvanis Type 3/4 in |  |  | 125 | m | 45000 | 25000 | 5625000 | 3125000 | 8750000 | 0.31145 |  | https://www.tokopedia.com/tp02/pipa-conduit-galvanized-g22-3-4-inch-pipa-dengan-drat?utm_source=google&utm_medium=organic&utm_campaign=pdp
| - | Flexible Cable Conduit 3/4 in |  |  | 15 | m | 23000 | 10000 | 345000 | 150000 | 495000 | 0.017619
B | Pekerjaan Pengadaan dan Pemasangan Sistem Penangkal Petir
1.1 | Pengadaan & Pemasangan Penangkal Petir |  |  |  | 1 | set | 31500000 | 12000000 | 31500000 | 12000000 | 43500000 | 1.5483
General Data
|  | Type | : | Konvensional (On the roof)
|  | Include With | : | Splitzen (tombak atas)
Pipa galvanis 3/4"
Kabel BC 16
Grounding rod bonded 5/8
Klem cincing rod grounding
Pembumian
1.2 | Sertifikasi penangkal petir dari Disnaker |  |  |  | 1 | Ls | 0 | 25000000 | 0 | 25000000 | 25000000 | 0.88985
| SUBTOTAL | [7 empty] | 31500000 | 37000000
IV | PEKERJAAN FINISHING
4.1 | Pembersihan lokasi kerja |  |  |  | 1 | Ls | 0 | 10000000 | 0 | 10000000 | 10000000 | 0.35594
4.2 | Verifikasi TKDN |  |  |  | 1 | Ls | 0 | 30000000 | 0 | 30000000 | 30000000 | 1.0678
| SUBTOTAL | [7 empty] | 0 | 40000000
| TOTAL SUB JUMLAH I-IV | [7 empty] | 1700561085 | 1108894645
| TOTAL SUB JUMLAH | [8 empty] | 2809455730
| KEUNTUNGAN & RESIKO* |  | 10% | [6 empty] | 280945573
| TOTAL + KEUNTUNGAN & RESIKO | [8 empty] | 3090401303 |  |  | 3652000000
| PEMBULATAN | [8 empty] | 3090000000 |  |  | 3286800000
TERBILANG: TIGA MILYAR SEMBILAN PULUH JUTA RUPIAH
Jakarta, 9 September 2025
PT. USAHA JAYA ENGINEERING
CHARLES SETIAWAN
Direktur